Fayetteville State University Chemical Spill Prevention and Response Plan

Environmental Health & Safety

J. Daniel Core & Andrea Cortez 4-1-2025

Contents

Regulatory Basis	3

Chemical Spill Prevention & Response Plan	4

1. Roles and Responsibilities	4

2. Spill Risk Identification	4

3. Spill Response Procedures	4

4. Spill Kits & Equipment	5

5. Notification & Reporting Procedures	5

6. Training Requirements	6

7. Preventive Measures	6

8.	Additional Best Practices	6

9.	Appendix	7

9.1.	Appendix 1.	7

Fayetteville State University – Environmental Health & Safety (EHS)
Aligned with OSHA, EPA, NFPA, and RCRA Regulations

## Regulatory Basis

| Standard | Applies To |
| --- | --- |
| OSHA 29 CFR 1910.1450 – Chemical Hygiene Plan | All labs handling hazardous chemicals |
| OSHA 29 CFR 1910.1200 – Hazard Communication | Labeling, SDS access, chemical hazard training |
| EPA 40 CFR 112 – SPCC Rule (if applicable) | Facilities storing large quantities of oil/chemicals |
| NFPA 45 – Fire Protection for Labs | Fire safety in chemical laboratories |
| EPA RCRA Rules – 40 CFR Parts 260–273 | Waste characterization, storage, and cleanup |
| NIH/CDC BMBL Guidelines (for biohazards) | Biological and infectious materials cleanup |

## Chemical Spill Prevention & Response Plan

### 1. Roles and Responsibilities

Each laboratory must:

- Appoint a Spill Response Coordinator (usually the PI, Lab Manager, or senior researcher)

- Clearly define responsibilities for:

  - Notifying Environmental Health & Safety (EHS)

  - Evacuating occupants (if necessary)

  - Determining whether a spill is minor or major

  - Performing safe cleanup of minor spills

  - Communicating with emergency responders in the event of a large spill or injury

### 2. Spill Risk Identification

All labs must:

- Maintain an up-to-date chemical inventory

- Identify chemicals with high spill risk or unique hazards, including:

  - Flammables

  - Corrosives

  - Toxics

  - Reactive agents

  - Compressed gases

  - Biohazards (if applicable)

Spill hazards should be reviewed quarterly and included in laboratory Standard Operating Procedures (SOPs).

### 3. Spill Response Procedures

#### Minor Spills (e.g., <100 mL of dilute acid, ethanol, or a known low-toxicity chemical):

- Notify others in the area

- Don appropriate PPE (lab coat, goggles, gloves)

- Use the spill kit to neutralize or absorb the material

- Clean and decontaminate the area

- Collect cleanup debris in a sealed, labeled container for hazardous waste disposal

- Report the spill to EHS within 24 hours

#### Major Spills (e.g., flammables, toxics, unknown substances, spills requiring evacuation or medical attention):

- Immediately evacuate the area

- Pull fire alarm (if needed) or call 911 / Campus Police 1911

- Notify EHS and provide SDS for chemical(s) involved

- Keep personnel away until cleared by emergency responders or EHS

- Assist with incident reporting and debrief

### 4. Spill Kits & Equipment

Each lab must maintain a clearly labeled and fully stocked spill kit with:

- Universal absorbent pads/materials

- Acid/base neutralizer powders

- Mercury spill kits (if applicable)

- Safety goggles and nitrile/chemical-resistant gloves

- Lab coat or disposable apron

- Scoop/dustpan and collection bags or containers

- Spill response instructions and emergency contact list

Spill kits must be checked monthly and restocked as needed. Document inspections using a spill kit checklist (Appendix 1. Spill Kit Inspection Checklist)

### 5. Notification & Reporting Procedures

All spills must be reported to EHS using the standard Lab Incident or Spill Report Form. The report should include:

- Date and time of the spill

- Chemical(s) involved and estimated quantity

- Names of personnel present

- Description of how the spill occurred

- Cleanup steps taken and PPE used

- Any injuries, exposures, or damages

Recordkeeping: All spill reports must be retained by the department and EHS for at least 3 years, per RCRA and OSHA standards.

### 6. Training Requirements

All lab personnel (faculty, students, and staff) must receive:

- Initial spill response training during onboarding

- Annual refresher training

- Site-specific training if new hazards are introduced

Training must cover:

- Chemical hazards and SDS use

- PPE use and selection

- How to determine spill severity

- Spill response steps and use of kits

- How to report spills

Training records must include:

- Trainee names and roles

- Date of training

- Trainer name

- Topics covered

- Participant signatures

### 7. Preventive Measures

To minimize spill risk:

- Store chemicals by compatibility in fire-rated or corrosion-resistant cabinets

- Use secondary containment (trays, bins) under liquid containers

- Label all containers with chemical name, hazard class, and date

- Avoid overstocking; limit chemical quantities to what’s needed

- Keep work areas organized and clutter-free

- Install chemical-resistant mats or trays in high-risk areas (e.g., near fume hoods or sinks)

- Review chemical storage and handling SOPs quarterly

  - Additional Best Practices

- Maintain emergency phone numbers near every spill kit and lab entrance

- Post spill response flowcharts in visible locations

- Conduct spill response drills at least once per year

- Ensure all spill response actions are coordinated with the Chemical Hygiene Officer and EHS

  - Appendix

Spill Kit Inspection Checklist
Fayetteville State University
1200 Murchison Rd, Fayetteville, North Carolina

Department: _________________________ Building: _________________________
Room Number: _______________________ Inspector: _________________________
Inspection Date: ___ / ___ / _______ Re-inspection Date: ___ / ___ / _______

Rating:
✔ = Present & In Good Condition ✖ = Missing/Damaged N/A = Not Applicable

| Item | Status (✔/✖/N/A) | Notes |
| --- | --- | --- |
| Spill kit is in designated location and properly labeled |  |  |
| Absorbent pads/rolls are available |  |  |
| Universal absorbents (granules/pillows) are stocked |  |  |
| Neutralizing agents (acid/base) are available |  |  |
| PPE (gloves, goggles, lab coat) is included |  |  |
| Disposable bags and ties for waste disposal are present |  |  |
| Dustpan and broom for spill clean-up are available |  |  |
| Hazardous waste labels are stocked |  |  |
| Emergency contact information is posted |  |  |
| Instructions for spill response are included |  |  |
| Used spill materials properly disposed of |  |  |

Additional Comments:

Inspector’s Signature: ________________________ Date: ___ / ___ / _______

Corrective Actions Required? ☐ Yes ☐ No
Follow-up Assignee: _________________________ Due Date: ___ / ___ / _______