Fayetteville State University Radiation Safety Program

Environmental Health & Safety

J. Daniel Core & Andrea Cortez 4-2-2025

Contents

1.	Purpose	3

2.	Scope	3

3.	Regulatory Compliance	3

4.	Responsibilities	3

4.1.	Environmental Health & Safety (EHS)	3

4.2.	Radiation Safety Officer (RSO)	4

4.3.	Laboratory Managers & Principal Investigators (PIs)	4

4.4.	Authorized Users	4

5.	Training & Authorization	4

6.	X-ray Safety Procedures	5

6.1.	Operational Safety Measures	5

6.2.	Access Control	5

6.3.	Personal Protective Equipment (PPE)	5

6.4.	Radiation Monitoring	5

7.	Emergency Procedures	5

7.1.	Suspected Radiation Exposure	5

7.2.	Equipment Malfunction	6

7.3.	Fire or Other Emergency	6

8.	Maintenance & Inspections	6

9.	Documentation & Record Keeping	6

10.	Conclusion	7

11.	Appendices	8

11.1.	Appendix 1. Radiation Safety Checklist	8

11.2.	Appendix 2. Training Roster Log	9

- Purpose

This protocol establishes safety guidelines for the use of ionized radiation equipment at Fayetteville State University (FSU). This ensures compliance with federal, state, and university regulations while maintaining a safe environment for faculty, staff, and students.

- Scope

This policy applies to all individuals working with or around ionized radiation equipment within FSU laboratories, including:

- Faculty

- Staff

- Students

- Research personnel

- Laboratory technicians

Only trained and authorized personnel may operate ionized radiation instruments.

- Regulatory Compliance

FSU complies with federal and state regulations governing X-ray equipment, including:

- North Carolina Radiation Protection Commission (NCRPC)

- U.S. Nuclear Regulatory Commission (NRC) regulations

- Occupational Safety and Health Administration (OSHA) standards

- American National Standards Institute (ANSI) N.43.17 for radiation safety

FSU’s Radiation Safety Officer (RSO) oversees compliance and monitoring.

- Responsibilities

  - Environmental Health & Safety (EHS)

- Ensure regulatory compliance with state and federal agencies.

- Conduct annual safety inspections of ionized radiation instruments (Geiger readings reports).

- Review records of dosimetry programs and review exposure records.

- Implement emergency response plans for radiation incidents.

  - Radiation Safety Officer (RSO)

- Approve all ionized radiation users before granting operational access.

- Ensure proper training and certification of personnel (Keep records available for EHS).

- Maintain an updated inventory of all ionizing radiation producing equipment.

- Review monthly radiation exposure levels

- Conduct radiation leak tests and exposure monitoring.

- Enforce safety measures and issue corrective actions.

  - Laboratory Managers & Principal Investigators (PIs)

- Ensure only trained personnel operate ionized radiation equipment.

- Provide an ionized radiation equipment inventory to RSO.

- Implement SOP for ionized radiation equipment. (Refer to Chemical Hygiene Plan)

- Maintain proper documentation of equipment maintenance logs.

- Conduct biannually safety checks (Appendix 1. Radiation Safety Inspection Checklist) and report any malfunctions to the RSO and EHS.

  - Authorized Users

- Complete ionized radiation safety training and complete documentation before using the instrument.

- Follow all safety procedures and access restrictions.

- Wear assigned personal dosimetry devices.

- Immediately report safety concerns, unusual readings, or incidents.

- Training & Authorization

All personnel using ionized radiation equipment must complete FSU's X-ray Safety Training, which includes:

- Fundamentals of X-ray diffraction and radiation hazards.

- Proper use of shielding and interlock systems.

- Regulatory compliance requirements.

- Emergency procedures for radiation exposure or equipment failure.

- Dosimetry monitoring and exposure limits.

Upon completion, personnel will receive written authorization from the Radiation Safety Officer (RSO).

# X-ray Safety Procedures

  - Operational Safety Measures

- Ionized radiation systems must never be operated with the shielding removed or interlocks bypassed.

- The system’s interlock mechanism must be tested regularly to ensure proper function.

- Users must confirm proper enclosure of the sample chamber before initiating scans.

- Do not exceed manufacturer-recommended exposure settings.

  - Access Control

- ionized radiation equipment must be housed in a restricted-access laboratory.

- Only trained and authorized personnel may enter the X-ray lab.

- The lab door should display warning signage:

  - "X-RAY IN USE – AUTHORIZED PERSONNEL ONLY"

  - Radiation hazard symbol and emergency contact information.

  - Personal Protective Equipment (PPE)

- Dosimetry device (TLD/OSL) must be worn at all times when operating the system.

- Lab coats, gloves, and safety glasses should be used in compliance with lab safety standards (Refer to Chemical Hygiene Plan)

- Pregnant personnel should notify the RSO immediately for dose monitoring adjustments.

  - Radiation Monitoring

- Dosimetry device readings will be monitored by RSO and reported to EHS.

- The RSO will review monthly radiation exposure levels.

- Radiation survey meters should be used periodically to check for potential leaks.

- The laboratory must maintain a log of all surveys and inspections.

- Emergency Procedures

  - Suspected Radiation Exposure

- Immediately cease operation of the ionized radiation system.

- Notify the Radiation Safety Officer (RSO) and EHS.

- Remove affected personnel from the area.

- Conduct a radiation survey to identify any leaks or excessive exposure.

- Medical evaluation may be required depending on the exposure level.

  - Equipment Malfunction

- Shut down the ionized radiation unit immediately.

- Report the issue to the RSO, lab manager / principal investigator and EHS.

- Place "DO NOT USE" signage on the instrument until repaired.

- Follow the manufacturer’s guidelines for servicing.

  - Fire or Other Emergency

- Evacuate the lab immediately.

- Activate the building fire alarm system if necessary.

- Call Campus Public Safety at (910) 672-1911.

- Inform emergency responders that X-ray-producing equipment is present.

- Maintenance & Inspections

Routine inspections will be conducted by EHS and the Radiation Safety Officer to ensure:

- Proper shielding and interlock functionality

- ionized radiation system compliance with state and federal guidelines

- Accurate radiation dose monitoring and leak detection

- Documentation & Record Keeping

The following records must be maintained for at least 3 years:

- Personnel training logs Appendix 2. Laboratory Training Roster

- Dosimetry records and exposure reports.

- Routine radiation surveys and inspections.

- Equipment maintenance and repair logs.

- Incident reports and corrective actions.

These records will be reviewed by the Chemical Safety Committee and made available for regulatory audits.

# Conclusion

Ensuring radiation safety compliance is essential for protecting students, faculty, and staff at Fayetteville State University. Adherence to these protocols minimizes exposure risks and ensures a safe research environment.

For questions, training, or compliance concerns, please contact:

Radiation Safety Officer (RSO):

Arun Sapkota: asapkota@uncfsu.edu

EHS Office:

James Core: jcore2@uncfsu.edu

Andrea Cortez: acortez2@uncfsu.edu

- Appendices

  - Appendix 1. Radiation Safety Checklist

Radiation Safety Inspection Checklist
Fayetteville State University
1200 Murchison Rd, Fayetteville, North Carolina

Department: _________________________ Building: _________________________
Lab Number: _______________________ Inspector: _________________________
Inspection Date: ___ / ___ / _______ Re-inspection Date: ___ / ___ / _______

Rating:
✔ = Compliant 		✖ = Non-Compliant 		N/A = Not Applicable

| Inspection Item | (✔/✖/N/A) | Notes |
| --- | --- | --- |
| Radiation warning signs posted and visible |  |  |
| Personal dosimeters worn and functional |  |  |
| Radiation exposure levels within limits |  |  |
| Shielding in place and undamaged |  |  |
| X-ray equipment functioning properly |  |  |
| Emergency procedures posted and understood |  |  |
| Proper storage of radioactive materials |  |  |
| Leak tests performed as required |  |  |
| Contamination surveys conducted and recorded |  |  |
| Proper waste disposal of radioactive materials |  |  |
| Geiger counter readings checked and recorded |  |  |

Additional Comments:

Inspector’s Signature: ________________________ Date: ___ / ___ / _______

Corrective Actions Required? ☐ Yes ☐ No
Follow-up Assignee: _________________________ Due Date: ___ / ___ / _______

  - Appendix 2. Training Roster Log

Training Roster Log

Fayetteville State University
1200 Murchison Rd, Fayetteville, North Carolina

| Trainee Name | Department | Lab Number | Date of Training | Trainer Name |
| --- | --- | --- | --- | --- |

Trainer’s Signature: ________________________ Date: ___ / ___ / _______

Training Notes:

- Keep this log for a minimum of 3 years

- Training is required annually and when job duties change

- Attach training materials or sign-in sheets for EHS records